Advantages

- Solar energy is free and so it requires no fuel and produces no waste or pollution.

- A solar water heater reduces the amount of fuel you need to heat water because it captures the sun's renewable energy.

- Prevents air, water and land pollution

- Reduces greenhouse gas emissions such as carbon dioxide CO2 and can eliminate up to 2 tonnes of CO2 per year.

## Many solar water heaters use a small solar electric (photovoltaic) module to activate the pump that circulates the heat transfer fluid through the collectors which operate even during a power outage.

## Help economy as they reduce dependency on imported fossil fuels.

## Disadvantages

- Does not function at night.

- High initial installation cost.

- Can be unreliable unless you're in a very sunny climate.

Source: http://www.canren.gc.ca/prod_serv/index.asp?CaId=141&PgId=750

Cost

- Solar water heating systems typically cost between $2,000 and $5,000 installed, depending on the type and size of system.

- With regular inspection, the system will operate for 20 to 30 years with minimal maintenance and costs.

- Single  4 x 8’ glazed solar thermal collector captures between 1,500 and 3,000 kWh of energy per year, this energy is worth $150 to $300

|  | Solar | Oil |
| --- | --- | --- |
| Initial Cost of Instalation | $ 3500 | $ 1500 |
| Operating Cost | $ 0/year | $ 700/year |
| 15 year Cost | $ 3500 | $ 12,000 |

Sources: www.cansia.ca/downloads/factsheets/23.pdf