What are boilers?

Boilers provide warm, even heat throughout your home by circulating steam or heated water through a system of pipes and baseboard or radiator-type heat exchangers

Types

Gas and oil boilers can run on steam or hot water (or both)

The piping systems are different for each type. The hot water system boiler uses a pump to circulate the hot water while the steam boiler uses its own pressure to circulate the steam throughout the system. Both use a burner to heat the water to the temperature that is set on the thermostat. An aqua stat monitors the temperature of the water and turns the burner off when the temperature reaches the desired level. Steam boilers must heat the water to a higher temperature, and therefore have lower efficiencies than hot water boilers

Combination boilers combine water heating and heat generation in one unit and can save considerable money on heating and water heating costs. The heating part of the "combi" boiler works in the same fashion as other boilers

How they work?

Heat is created by burning gas or oil inside your furnace. Hot gases that are created pass through curved metal tubing called a heat exchanger and then out of your home through a metal or plastic vent pipe. At the same time, the air that circulates through your home passes over the outside of the heat exchanger and takes on the heat from the hot metal. The warm air is then circulated through your home

They provide warm, even comfort without drafts because it's not a forced air system. Instead, warmth "radiates" throughout your home without causing much of the dryness associated with heat from a forced-air system, such as furnace or heat pump.

Boilers

Efficiency

- Combustion efficiency - how efficiently the boiler burns the fuel.

- Steady-state efficiency - how efficiently the boiler uses the heat from combustion when operating under full load.

- Seasonal efficiency - how efficiently the boiler uses fuel over the entire heating season

- Use two or three boilers to increase efficiency

- Some other ways to increase efficiency include eliminating leaks, softening or treating system water, using indoor/outdoor reset thermostats, and limiting control differentials