Heat Pumps:

General Overview

By: Rob Rolufs

Presentation Objective: To provide the class with a basic understanding of heat pumps.

General Concepts: -Heat always flows from hot to cold

-All mater contains heat

-Cold is the absence of heat

-Heat can be moved or exchanged by                             means of heat extraction

General Definition:

A heat pump pumps hot air from one location to another.

Air Conditioners

Diagram of a typical air conditioner

1)  The compressor compresses cool Freon gas, causing it to become hot, high-pressure Freon gas (red in the diagram above).

2)  The hot gas runs through a set of coils so it can disperse its heat, and it condenses into a liquid.

3)  The Freon liquid runs through an expansion valve, and in the process it evaporates to become cold, low-pressure Freon gas (light blue in the diagram above).

4)  This cold gas runs through a set of coils that allow the gas to absorb heat and cool down the air inside the building.

- A heat pump is basically a reversible air conditioner.

- Heat pumps allow the Freon to flow in either direction.

How does a heat pump extract heat from the cold outdoors during the winter?

-All mater contains heat (including snow)

- The compressor boosts the extracted heat to a much higher temperature gas by compressing the menial amount of heat.

-This “boosted” heat is then sent through the warm coils where it dissipates out of the coils into the cold atmosphere.

Conclusion:   A heat pump is an air conditioner that can alter    the flow-direction of the Freon.

References:

http://home.howstuffworks.com

http://www.geothermalheatpump.com/how.htm